# WWT – exam questions

- Water sources, basic types of water and their characteristic

- Waste sources, main water contaminators

- Water utilization, management with industrial supply water

- Requirements for WWTP calculation and design, design of sewer piping

- Matters in water – water composition

- Kinds of pollution in waste water

- Determination of pollution in wastewater – tested values

- COD, BOD, their relation, population equivalent

- Recipient and effect of WW on it

- Calculation of wastewater amount per day and hour, coefficients of non-uniformity

- Self purification of surface water

- Physical, chemical and biological processes of WW treatment

- Principles of pollution separation from WW

- Mechanical ways of WW treatment, techniques, objectives

- Bar screens - principal, description, function

- Screen filters - principal, description, function

- Sand, grit and stone traps - principal, description, function

- Bochumi sand trap - principal, description, function

- Vortex sand trap, hydro-cyclone - principal, description, function

- Sedimentation of particles, regions of sedimentation process, determination of settling velocity

- Types of settlers (shape and design, WW flow)

- Circular (radial) settler - principal, description, function

- Lamella separator - principal, description, function

- Grease and oil catchers- principal, description, function

- Sludge management and technological processes

- Belt press - principal, description, function

- Continuous centrifugal decanter - principal, description, function

- Continuous screw press - principal, description, function

- Biological WW treatment, principles, techniques, objectives

- Comparison of aerobic and anaerobic ways of WW treatment

- Cesspool, septic tank

- WW clearing on plant roots

- Sand filter, WW channel (irrigation tubes)

- Aerobic ways of WW treatment - principles, basic conceptions, advantages, disadvantages

- Types of activation tanks, flow character and its determination

- Types of activation, sludge bulking

- Important parameters of activation

- Microbial growth phases in WW

- WWTP monitoring and control

- Ways of aeration,, examples, objectives and important parameters

- Oxidation ditch, carrousel oxidation, colliery oxidation

- Trickling filters - principal, description, function, efficiency

- Rotary biological contactors - principal, description, function

- Anaerobic WW treatment - principles, basic conceptions, advantages, disadvantages

- Parameters affecting anaerobic processes

- Basic types of anaerobic reactors - principal, description, function

- Anaerobic column with filling, sludge digester

- Technological flow chart of WWTP in a sugar industry (high BOD)

- Technological flow chart of WWTP Praha Trója (municipal sewage = low BOD)

Examination’s procedure:

# WWTP project presentation (in PowerPoint + Word): necessary for your assessment

Oral :

1. question:	from questions 1 to 16

2. question:	from questions 17 to 34

3. question:	from questions 35 to 49

Every student will get 3 questions and will have c. 5 - 10 minutes for preparation (notes, answers, sketches ...) while a previous one will be examined.